## About
BTaDLP BAU Transmission and Distribution Loss Percentage
Sources: | Sources for total losses : CEER report page 162
Source for demand : ENTSO-E Factsheet 2022 page 3
Notes:
This variable represents the percentage difference in generation
and delivered energy from the EU27 power system.
In the real world, pumped hydro plants may chage for slightly more hours and at a
slightly lower MW rating than they discharge, but we simplify this to represent it as the same number
of hours charging and discharging and the same MW rating when charging and discharging.
Unit Conversion
gigawatts to megawatts
1000

## Data
Total Losses | 2015 | 2016 | 2017 | 2018 | Mean | Demand 2022 (TWh)
AT |  | 3.64 | 3.5 | 3.48 | 3.54 | 61.5
BE |  | 4.55 | 4.57 | 4.58 | 4.5667 | 81.7
CY |  |  | 5.9 | 4.58 | 5.24 | 1.8
CZ |  | 4.92 | 5.01 | 5.05 | 4.9933 | 64.4
DE |  | 4.61 | 4.91 | 4.46 | 4.66 | 482.7
DK |  | 4.54 | 4.45 | 4.48 | 4.49 | 34.3
EE |  | 5.28 | 5.21 | 5.26 | 5.25 | 8.2
EL |  | 10.19 | 9.79 |  | 9.99 | 14.9
ES |  | 8.86 | 8.55 | 8.93 | 8.78 | 236.1
FI | 4 |  |  |  | 4 | 79.2
FR |  | 6.61 | 6.68 | 6.41 | 6.5667 | 442.8
HR |  | 7.35 | 7.66 | 7.32 | 7.4433 | 18.1
IE |  | 7.34 | 7.31 | 7.24 | 7.2967 | 13.1
IT |  | 7.15 | 7.09 |  | 7.12 | 286.3
LT |  | 2.47 | 2.45 | 2.52 | 2.48 | 12.2
LU |  | 3.66 | 3.65 | 3.68 | 3.6633 | 5
LV |  | 5 | 4.6 | 4.49 | 4.6967 | 6.8
NL |  | 2.59 | 2.66 | 2.6 | 2.6167 | 100.4
PL |  | 5.89 | 5.75 | 5.71 | 5.7833 | 172.4
PT |  | 7.96 | 8.28 | 8.09 | 8.11 | 50.3
SI |  | 3.81 | 3.81 | 3.75 | 3.79 | 13.4
SK |  | 4.45 | 4.08 | 4.27 | 4.2667 | 27.2
SE |  | 4.75 | 4.8 | 4.46 | 4.67 | 132.1
HU |  | 7.46 | 7.31 | 6.95 | 7.24 | 43.4
UE27 |  |  |  |  | 5.4689 | 2388.3 | Weighted average
5.8324
Bulgaria | No data |  |  |  |  | 37.8
Romania | No data |  |  |  |  | 56.2
MT | No data
Sources : CEER report
Source for demand : ENTSO-E Factsheet 2022

## BTaDLP
Year | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Trans and Dist Loss Perc (dimensionless) | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324 | 0.058324