## About
DRC BAU Demand Response Capacity
DRC Potential Additional Demand Response Capacity
DRC Hours of DR Average Utility May Call Upon per Year
DRC Average DR Hours per DR Event
Sources: | DR historical data | Sia Partners, Demand Response : A study of its potential in Europe, figure 3
| DR forecast data | SmartEN page 17 and 18
Notes:
Demand response is defined as the potential to shift usage during peak
periods in response to time-based rates or other financial incentives.
Only load shifting is considered here (not load sheeding)
Data about the total number of hours of DR the average utility may call upon per year
and the typical length of each DR event in hours are also required. These are used to apportion the DR capacity to different
days and hours correctly in the model.
Same data as in the EPS US model is used for these two variables

## Raw data
Load shedding (finally not considered here)
Upward flexible power (MW) | 2014 | 2020 | 2030
Industrial DSR | 16330 | 18355.375 | 21731
Total Available flexible power | 52350 | 94120.5 | 163738
Upward felxibility (GWh)
Industrial DSR |  |  | 1071
Total activated flexibility |  |  | 396974
Number of hours of industrial DSR | 49.2844
Sources:
SmartEN
Sia Partners, Demand Response : A study of its potential in Europe, figure 3
Interpolated
Load shifting |  |  |  | Only load shifting is considered in this variable
DR total (GW) | 2014 | 2020 | 2030
Tertiary | 13.9
Residential (except water heating) | 14.79
Residential Water heating among Residential | 7.32
BESS | - |  | 10.85
Smart Charging | - |  | 48.704
V2G | - |  | 25.594
Residential electric heating | - |  | 32.841
Industrial electric heating | - |  | 7.082
Industrial heating CHP | - |  | 6.355
District heating CHP | - |  | 10.581
Total DR (GW) | 36.01 | 75.7589 | 142.007
DR Capacity (GW) | 7.32 | 7.32 | 7.32
DR Potential (GW) | 28.69 | 68.4389 | 134.687
Residential Water heating is considered as an already available demand response capacity and not as a potential.
Sources:
Sia Partners, Demand Response : A study of its potential in Europe, figure 3
SmartEN
Interpolated

## DRC-BDRC
Year | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
DR Capacity (MW) | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320

## DRC-PADRC
Year | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Potential Additionnal DR Capacity (MW) | 68438.875 | 75063.6875 | 81688.5 | 88313.3125 | 94938.125 | 101562.9375 | 108187.75 | 114812.5625 | 121437.375 | 128062.1875 | 134687 | 141311.8125 | 147936.625 | 154561.4375 | 161186.25 | 167811.0625 | 174435.875 | 181060.6875 | 187685.5 | 194310.3125 | 200935.125 | 207559.9375 | 214184.75 | 220809.5625 | 227434.375 | 234059.1875 | 240684 | 247308.8125 | 253933.625 | 260558.4375 | 267183.25

## DRC-HoDRAUMCUpY
Unit: hours | Hours per Year
DR Hours per Year | 96

## DRC-ADRHpDRE
Unit: hours | Hours per Year
DR Hours per Event | 4