## About
MPCbS Maximum Potential Capacity by Sources
Sources : | Maximum potential capacity per year | GEXIT project conducted by Artelys on behalf of Agora Energiewende, based on JRC ENSPRESO database
| Geothermal maximum potential | Geoelec prospective study 2011 page 95
| CSP maximum potential | "Overview of the Enablers and Barriers for a Wider Deployment", Fabio Maria Aprà, Sander Smit, Raymond Sterling and Tatiana Loureiro of CSP Tower Technology in Europe
Notes:
These maximums reflect the available resource potential for hydro, wind, solar, and biomass power.
Maximums for fossil fuels and nuclear are not imposed, as these power types are unlikely to
be geographically resource-constrained. (An arbitrarily high number is chosen here, to ensure
this limit doesn't come into play for these electricity sources.)
Since hydro, municipal solid waste and other renewable are scenarized in BPMCCS we their maximum installation capacity is set to 0 (with no decommission, positive installed capacities in BPMCCS)
we set their maximum new capacity to 0

## Wind and PV
Static potential - overall maximum installed capacity
Unit: MW
Techno | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Solar ground fleet | 7627084.2 | 7627084.2 | 7627084.2 | 7626982.2 | 7623360.2 | 7608472.2
Solar roof fleet | 1097922.8259 | 1097922.8259 | 1097922.8259 | 1095950.8259 | 1078957.8259 | 1046367.8259
Wind floating fleet | 4426669.544 | 4426669.544 | 4426669.544 | 4426669.544 | 4426669.544 | 4426669.544
Wind offshore fleet | 3392870.4726 | 3392870.4726 | 3392426.4726 | 3392086.4726 | 3389948.4726 | 3382357.4726
Wind onshore fleet | 7007000.2468 | 7007000.2468 | 6980803.2468 | 6951520.2468 | 6907670.2468 | 6860359.2468
Dynamic potential - maximum installation between two consecutive years
Unit: MW/5yr
Techno | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Solar ground fleet | 176489.4668 | 1493161.4346 | 1496890.9346 | 1500222.9346 | 1505129.9346 | 1515685.9346
Solar roof fleet | 196924.4485 | 142128.58 | 143059.4316 | 145317.4316 | 146910.4316 | 150992.483
Wind floating fleet | 0 | 1924.5 | 43603.881 | 43603.881 | 218019.4052 | 218019.4052
Wind offshore fleet | 74980.32 | 135840.645 | 143661.3474 | 140826.6889 | 140877.9465 | 142377.9465
Wind onshore fleet | 306955.885 | 376156.985 | 383588.365 | 353851.083 | 365969.3616 | 369133.3654
Maximum potential by year taking into account both the static and the dynamic criteria
cap max (n) = (min(pmaxmax(n); capamax(n-1) + pmaxinstall(n))
Unit: MW
Techno | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Solar ground fleet | 176489.4668 | 1669650.9014 | 3166541.836 | 4666764.7706 | 6171894.7052 | 7608472.2 | Note: for solar, the most constraining constraint is the static potential)
Solar roof fleet | 196924.4485 | 339053.0285 | 482112.4601 | 627429.8917 | 774340.3233 | 925332.8063
Wind floating fleet | 0 | 1924.5 | 45528.381 | 89132.262 | 307151.6672 | 525171.0724 | Note: for wind, the most constraining constraint is the dynamic potential - cumulative of the max installation rates)
Wind offshore fleet | 74980.32 | 210820.965 | 354482.3124 | 495309.0013 | 636186.9478 | 778564.8943
Wind onshore fleet | 306955.885 | 683112.87 | 1066701.235 | 1420552.318 | 1786521.6796 | 2155655.045
Solar thermal total capacity (MW) | 30000
Solar ground PV (excl. CSP) | 7578472.2
Sources
GEXIT project (based on JRC ENSPRESO potentials)
"Enablers and barriers for the dev of CSP in Europe", F.M. Aprà, S. Smit, R. Sterling & T. Loureiro
Final result kept

## Geothermal
Country | Capacity Max (MW) 2050 LCOE < 200€/MWh study 2013
Austria | 20
Belgium | 8
Bulgaria | 23
Cyprus | 0
Croatia | 15
Czech | 13
Denmark | 10
Estonia | 1
Finland | 3
France | 180
Germany | 95
Greece | 25
Hungary | 45
Ireland | 8
Italy | 68
Latvia | 2
Lithuania | 8
Luxemburg | 1
Poland | 45
Portugal | 20
Romania | 35
Slovakia | 15
Slovenia | 5
Spain | 105
Sweden | 12
Nertherlands | 13
Malta | 0
Total UE27 | 775
Sources : | Geoelec prospective study 2013 page 27

## Biomass
Biomass is treated separately since its potential is limited by the primary ressource availability (which means that the potential is not a capacity (MW) but rather an amount of energy (GWh/year)
| 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Biomass energy potential (MWh /year) | 502511333.6283 | 472779014.1304 | 336296700.8545 | 286329227.8418 | 450564079.7079 | 536618615.2535
Biomass yield (MWh elec/MWh biomass) - see BHRaSYC variable | 0.318 | 0.318 | 0.318 | 0.318 | 0.318 | 0.318
Using the yearly mean Capacity factor see SHCF (assumed constant) | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44
Biomass potential capacity in MW | 41458.7495 | 39005.7406 | 27745.5248 | 23623.0527 | 37172.9393 | 44272.7064
Sources
GEXIT project

## MPCbS
Electricity Source | Max Potential Capacity (MW)
hard coal | 9000000000000
natural gas steam turbine | 9000000000000
natural gas combined cycle | 9000000000000
nuclear | 9000000000000
hydro | 0
onshore wind | 2155655.045
solar utility scale PV | 7578472.2
solar thermal (CSP) | 30000
biomass | 44272.7064
geothermal | 775
petroleum | 9000000000000
natural gas peaker | 9000000000000
lignite | 9000000000000
offshore wind | 1303735.9667
crude oil | 9000000000000
heavy or residual fuel oil | 9000000000000
municipal solid waste | 0
hard coal w CCS | 9000000000000
natural gas combined cycle w CCS | 9000000000000
biomass w CCS | 44272.7064
lignite w CCS | 9000000000000
small modular reactor | 9000000000000
hydrogen combustion turbine | 9000000000000
hydrogen combined cycle | 9000000000000